2020 Annual Meeting

Updated Agenda Item

**WTR-20.2 V S.1.1.4. Advancement of Indicating and Recording Elements.**

While discussing this item the S & T committee determined that the language in Pub 16 was incomplete. A review of the history of the item determined that the version included in Pub 16 was an incomplete edit. The committee concluded that the language included in the original Form 15 submitted to NCWM is consistent with the codes S.1.1.4. Advancement of Indicating and Recording Elements in section 3.34. Cryogenic Liquid-Measuring Devices and 3.38. Carbon Dioxide Liquid-Measuring Devices.

Please consider the item, as presented below, when making your recommendation to the S & T committee:

S.1.1.4. Advancement of Indicating and Recording Elements. – Primary indicating and recording elements shall be susceptible to advancement only by the ~~mechanical~~ **normal** operation of the device.

**(Amended 2021)**

The item as presented in Pub 16:

S.1.1.4. Advancement of Indicating and Recording Elements. – Primary indicating and recording elements shall ~~be susceptible to advancement~~ **advance** only by the ~~mechanical normal~~ **designed** operation of the device~~.~~**, intended by the manufacturer.**

**(Amended 2020)**