NCWM Board of Directors

2025 Interim Meeting Report

Mr. Marc Paquette, NCWM Chairman

Vermont

INTRODUCTION

This is the report of the Board of Directors (hereinafter referred to as the “Board”) for the 110th Annual Meeting of the National Council on Weights and Measures (NCWM). This report is based on the Interim Report offered in the NCWM Publication 16, testimony heard at public hearings, comments received from the regional weights and measures associations and other parties, the addendum sheets issued at the Annual Meeting, and actions taken by the membership at the voting session of the Annual Meeting. The Informational items presented below were adopted as presented when the Board’s report was approved.

Table A identifies the agenda and appendix items. Agenda items are identified in the Report by Reference Key Number, Item Title, and Page Number. Item numbers are those assigned in the Interim Meeting agenda. A Voting item is indicated with a “V” after the item number. An item marked with an “I” after the reference key number is an Informational item. An item marked with a “D” after the reference key number is a Developing item. The developing designation indicates an item has merit; however, the item was returned to the submitter for further development before any action can be taken at the national level. An agenda “Item Under Consideration” is a statement of proposal and not necessarily a recommendation of the BOD. Suggested revisions are shown in bold face print by striking out information to be deleted and underlining information to be added. Table B lists the results of any Voting Items.

Items may be grouped into “Blocks” if they are:

- Opposing Items: Items in direct conflict with each other, and only one may be adopted,

- Interdependent Items: Items addressing a similar topic where, if one is adopted, all need to be adopted, and

- Related Items: Items addressing a similar topic across multiple codes or regulations.

Some Voting Items are considered individually; others may be grouped in a consent calendar. Consent calendar items are Voting Items that the Board has assembled as a single Voting Item during their deliberation after the Open Hearings, assuming that the items are without opposition and will not require discussion.  The Voting Items that have been grouped into consent calendar items will be listed on the addendum sheets.  Prior to adoption of the consent calendar, the Board will remove specific items from the consent calendar upon request to be discussed and voted upon individually.

The Board may change the status designation of agenda items (Developing, Informational, Assigned, Voting and Withdrawn) up until the report is adopted, except those items which are marked Developing, Informational, Assigned or Withdrawn cannot be changed to Voting Status.  Any change from the Board Interim Report (as contained in this publication) or from what appears on the addendum sheets will be explained to the attendees prior to a motion and will be acted upon by the active members of NCWM prior to calling for the vote.

An “Item under Consideration” is a statement of proposal and not necessarily a recommendation of the Board.  Suggested revisions are shown in bold face print by striking out information to be deleted and underlining information to be added.  Requirements that are proposed to be nonretroactive are printed in bold faced italics.  Additional letters, presentation and data may have been submitted for consideration with this item. Please refer to https://www.ncwm.com/publication-16 to review these documents.

All sessions are open to registered attendees of the conference.  If the Board must discuss any issue that involves proprietary information or other confidential material; that portion of the session dealing with the special issue may be closed if (1) the Chairman or, in his absence, the Chairman-Elect approves; (2) the Executive Director is notified; and (3) an announcement of the closed meeting is posted on or near the door to the meeting session and at the registration desk.  If possible, the posting will be done at least a day prior to the planned closed session.

Subject Series List

Activity Reports	ACT Series

Strategic Planning, Policies, and Bylaws	SPB Series

Financial	FIN Series

Other Items	OTH Series

| Table A Table of Contents |  |  |
| --- | --- | --- |
| Reference Key | Title of Item | BOD Page |

ACT – Activity Reports	8

ACT-1	I 	Membership	8

ACT-2	I 	Meetings	9

ACT-3	I 	Participation in International Standard-Setting	9

ACT-4	I 	Associate Membership Committee Activity	9

ACT-5	I 	Task Groups, Subcommittees, Steering Committees	10

ACT-6	I 	Regional Association Activities	12

SPB – Strategic Planning, Policies, and Bylaws	13

SPB-1	W 	Strategic Planning	13

SPB-24.1	I 	Electronic Publications 15 & 16	13

SPB-25.1	I 	Gender-Neutral Bylaws	13

FIN – Financial	14

FIN-1	I 	Treasurer's Report	14

Appendices

A	ACT-3: Report of the Activities of the International Organization of Legal Metrology (OIML) and Regional Legal Metrology Organizations	A17

B	ACT-4: Associate Membership Committee (AMC) Agenda and Draft Meeting Minutes	B25

Table B Glossary of Acronyms and Terms

| Acronym | Term | Acronym | Term |
| --- | --- | --- | --- |
| AMC | Associate Membership Committee | NTEP | National Type Evaluation Program |
| NCWM | National Council on Weights and Measures | OIML | International Organization of Legal Metrology |
| NIST | National Institute of Standards and Technology | OWM | Office of Weights and Measures |
| Details of All Items (In order by Reference Key) |  |  |  |

# ACT – Activity Reports

ACT-1	I	Membership

The chart and graph below show NCWM membership levels as of March 31 of recent years by membership categories.  October 1 is the lowest level of membership for every fiscal year because it is the day that any memberships that were not renewed become lapsed.  Additional growth is realized throughout the remaining fiscal year as lapsed members return and new members are received.  The potential growth remains significant, and NCWM continues to enhance programs and services that add value to membership. In 2025, retired members were removed if NCWM no longer had valid contact information for them.

| Year Type | March 2017 | March 2018 | March 2019 |  | Mar 2020 | Mar 2021 | Mar 2022 | Mar 2023 | Mar 2024 | Mar 2025 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Associate | 787 | 760 |  | 739 | 726 | 712 | 701 | 674 | 667 | 728 |
| Foreign Associate | 82 | 88 |  | 90 | 99 | 98 | 100 | 96 | 100 | 101 |
| Total Associate | 869 | 848 |  | 829 | 825 | 810 | 801 | 770 | 767 | 829 |
| State Government | 644 | 684 |  | 796 | 817 | 672 | 731 | 756 | 714 | 700 |
| Local Government | 467 | 468 |  | 458 | 456 | 427 | 406 | 396 | 395 | 390 |
| Total Active | 1110 | 1152 |  | 1254 | 1273 | 1099 | 1137 | 1152 | 1109 | 1090 |
| NIST | 15 | 15 |  | 16 | 17 | 16 | 16 | 19 | 13 | 14 |
| Other Federal Government | 12 | 11 |  | 10 | 8 | 7 | 8 | 7 | 9 | 13 |
| Foreign Government | 13 | 16 |  | 15 | 15 | 12 | 14 | 14 | 15 | 17 |
| Retired | 219 | 224 |  | 227 | 239 | 246 | 245 | 248 | 249 | 229 |
| Total Advisory | 259 | 266 |  | 268 | 279 | 281 | 283 | 288 | 286 | 273 |
| Grand Total | 2239 | 2266 |  | 2351 | 2377 | 2190 | 2221 | 2210 | 2162 | 2192 |

ACT-2	I	Meetings

Interim Meetings:

January 11-14, 2026	Renaissance Mobile Riverview Plaza Hotel, Mobile, Alabama

January 24-27, 2027	Sonesta Redondo Beach & Marina, Redondo Beach, California

Annual Meetings:

July 13-17, 2025		110th Annual Meeting: Silver Legacy Resort Hotel, Reno Nevada

July 26-30, 2026		111th Annual Meeting: Marriott Old City, Philadelphia, Pennsylvania

Date and location to be determined in the Southern Region

NCWM strives to plan meetings in locations that have reasonably priced airline service and are within government per diem rates.  The Board also evaluates locations and bids from hotels based on their ability to offer comfortable rooms, quality meeting space, and a variety of nearby entertainment and dining options.  For more information about our meetings, contact Ms. Elisa Stritt, NCWM Director of Operations, at (402) 434-4872 or elisa.stritt@ncwm.com.

ACT-3	I	Participation in International Standard-Setting

David Sefcik (NIST OWM) provided a report during the Open Hearings of the 2025 NCWM Interim Meeting.  See Appendix A for a copy of the full report.  The Board of Directors expresses appreciation to Mr. Sefcik for his  report and the important efforts of the NIST, Office of Weights and Measures around the world.

See the NTEP Committee Agenda for additional reports on NCWM's involvement internationally, including the Mutual Recognition Arrangement (MRA) with Measurement Canada and the OIML Certificate System (CS).

ACT-4	I	Associate Membership Committee Activity

Approximately 35% of NCWM memberships is Associate members.  The Associate Membership Committee (AMC) is organized under the Bylaws of the National Council on Weights and Measures, Inc.  Also, AMC operates by separate Bylaws, which are available on the Committee page of www.ncwm.com.  AMC meets at least 2 times per year in conjunction with NCWM Interim and Annual Meetings, and they invite all to attend.  The AMC consists of between 5 and 10 members who, amongst themselves, elect officers to serve as Chair, Vice-Chair, and Secretary/Treasurer.  See Appendix B for information on current members and officers.

AMC has established a reputation for promoting and improving NCWM and has demonstrated its desire to improve understanding of weights and measures activities in the public and private sectors.

The NCWM membership dues for Associate members of $90 are $15 higher than that for Active or Advisory members.  The extra $15 is not for NCWM but rather is placed in a separate account referred to as the AMC Fund.  The AMC has the discretion to allocate the funds in various ways.  One means of allocating these funds is to provide grants in support of weights and measures training.  The Committee receives applications and awards training grants from the AMC fund following their "Guidelines for Selection and Approval of Training Funds," which are posted on the Committee's webpage on www.ncwm.com. Downloadable applications for training grants and reimbursement forms are also available at this site.

The criteria to receive AMC funds for training are as follows:

- Funding request forms that are complete, specific, and detailed will receive priority attention for approval. Based on the degree of missing or ambiguous information provided, individual requests may not be given any consideration during the AMC review process, pending further clarification.

- Preference is given to training requests that benefit higher numbers of participants over those for fewer or single-person benefit.  The Committee also gives priority consideration to multi-state training that encourages uniformity.

- In general, attending meetings such as NCWM Annual Meetings, Interim Meetings, or regional associations meetings will not be considered training.

- As a lower priority, the committee will consider requests for the purchase of training materials, but not requests for the purchase of assets (such as projectors).

- Reasonable funding for travel and expenses will be considered if it is necessary to acquire an "expert trainer" that would benefit a high number of weights and measures officials. This will be an option when qualified volunteers are not available.

Neutral Comments:

Advisory:

- AMC Chairman Bill Callaway provided a description and history of the committee, including an explanation of the additional $15 for associate membership dues that goes into a special fund. He explained the process for applying for training funds and reported the recent and upcoming events totaling over $37,000 of AMC funds to support training.

ACT-5	I	Task Groups, Subcommittees, Steering Committees

Task Groups, Subcommittees, Steering Committees:

Focus groups, task groups, subcommittees, and steering committees are created by the NCWM Chairman and operate as defined in NCWM Policy 1.5.1. Subgroups Supporting the Work of the Organization.   A task group is given a specific charge, and it reports to the appropriate NCWM standing committee.  A task group will disband after completing its assignment.   A subcommittee is charged with ongoing responsibilities in support of a standing committee in a specific field of expertise.  A steering committee is charged with unbiased fact-finding that will assist NCWM membership in decision processes for difficult issues.  A steering committee will disband upon completion of its specific charge.

NCWM offers resources to these task groups and subcommittees including meeting space at Interim and Annual Meetings, conference calling and web meeting services, group email services, a dedicated web page for posting and archiving documents related to their work, and broadcast e-mail services to reach targeted audiences.  Additionally, NIST OWM has provided technical advisors and web meeting forums.  These tools enable year-round progress of task group and subcommittee work.

Because NCWM task groups and subcommittees are part of the NCWM organizational structure and report directly to its standing committees, their proposals may appear in NCWM Publication 15 without first being vetted through a regional association.  NCWM vets any such proposals through the open hearings of NCWM.

The Promotional Toolkit Task Group reports to the Board of Directors.  Among the activities of this group, it has developed multiple videos, each showcasing inspection activities in the supermarket, scale inspections, retail motor fuel dispenser inspections, motor fuel quality, and checking the net contents of packaged goods and LP Gas Meter inspections.

The Cannabis Task Group also reports to the Board of Directors.  This group is addressing Scale Suitability, Method of Sale, Packaging, and Labeling, Water Activity in Packaged Products, and Inspector Safety.  Mr. James Cassidy (MA) reported that the Task Group is developing Form 15 proposals to amend NCWM standards in the NIST Handbooks.  This is based on assurance from Dr. Olson (NIST OWM) that NIST will be able to publish the standards.

The Bylaws Review Task Group also reports to the Board of Directors.  Mr. Chris Guay (CGGT) is Chair of this group.  The group makes recommendations to amend NCWM Bylaws and policies.

Mahesh Albuquerque (CO) leads the EVSE Training Planning Committee, with the first event scheduled for August 2025 in Denver Colorado.

Reporting to the Board of Directors:

Cannabis Task Group:

Chair: Mr. Charles Rutherford 612-655-5494, charlie@cprsquaredinc.com

- Policy and Bylaw Review Task Group

- Chair: Mr. Chris Guay

513-652-6597, guay.cb@gmail.com

EVSE Training Planning Committee

Chair: Mahesh Albuquerque

303-318-8502, mahesh.albuquerque@state.co.us

EVSE Task Group

Chair: Kevin Schnepp

916-229-3458, kevin.schnepp@cdfa.ca.gov

- Reporting to the Laws and Regulations Committee:

- Fuels and Lubricants Subcommittee

Chair: Vanessa Benchea

813-868-8263, Vanessa.Benchea@fdacs.gov

- Packaging and Labeling Subcommittee

Chair: Mr. Chris Guay

513-652-6597, guay.cb@gmail.com

Uniform Shippment Law Task Group

Chair: Mr. Miland Kofford

801-538-7158, mkofford@utah.gov

Reporting to the Specifications and Tolerances Committee:

Field Reference Standards Task Group

Chair: Vacant

Milk Meter Tolerance Task Group

Chair: Mr. Aaron Yanker

719-250-1851, aaron.yanker@state.co.us

Verification Scale Division (e) Task Group

Chair: Evan Foisy

631-560-3497, EFoisy@andonline.com

Transportation-for-Hire Systems Task Group

Chair: 	Mark Lovisa

225-925-3780, mlovisa@ldaf.state.la.us

Reporting to the Professional Development Committee:

Safety Subcommittee

Chair: John Satterlee

217-785-8480, john.satterlee@illinois.gov

Women in Weights and Measures Subcommittee

Chair: Cheryl Ayer

303-318-8502, cheryl.e.ayer@agr.nh.gov

Metrology Subcommittee

Chair: Frank Greene

860-713-7237, frank.greene@ct.gov

Member Education and Mentorship Subcommittee

Chair: Brian Fuller

515-201-5413, Brian.Fuller@IowaAgriculture.gov

Fraud Prevention and Education Task Group

| Chair: Alan Walker 805-274-9044, alan.walker@FDACS.gov |  |
| --- | --- |

Neutral Comments:

Advisory:

- Cannabis Task Group Chair Charlie Rutherford reported that the task group is making progress on its remaining item of scale suitability.

- Policy and Bylaw Review Task Group Chair Chris Guay explained the purpose and process of the task group.

- EVSE Technical Conference and Tradeshow Task Group Chair Mahesh Albuquerque described the upcoming event for 2025. He directed members to the event webpage, where they can access a form to help gauge the level of interest in attending. This will help the task group determine the size of the venue.

- Women in Weights and Measures Subcommittee Chair Cheryl Ayer explained that the subcommittee is still determining its structure. She described the lively activities of their Sunday afternoon meeting. All men and women are welcome to attend.

At the conclusion of the reports, members watched the new promotional video that describes the Interim and Annual Meetings for new attendees. It can also be useful for employees to share with their administrators.

ACT-6	I	Regional Association Activities

2025 Meetings

NEWMA Interim Meeting

TBD

Contact: Mr. James Willis, James.Willis@agriculture.ny.gov

CWMA Interim Meeting

TBD

Contact: Ms. Sherry Turvey, Sherry.Turvey@ks.gov

WWMA Annual Meeting

September 7-11, 2025

Helena, Montana

Contact: Mr. Kevin Schnepp, kevin.schnepp@cdfa.ca.gov

SWMA Annual Meeting

October 26 – 29, 2025

Greenville, South Carolina

Contact: Valerie Forbes, valerie.forbes@delaware.gov

# SPB – Strategic Planning, Policies, and Bylaws

SPB-1	W	Strategic Planning

The Board of Directors presented the draft strategic plan to the membership for comments in 2023.  Based on comments received, the board adopted the new strategic plan at its fall 2023 quarterly meeting.  The plan is a living document subject to ongoing review and updates as strategies are completed and new strategies are added.

Item Development:

2025 NCWM Interim Meeting: This item is withdrawn, and the board will continue to regularly review the progress and success of the strategies toward the goals and objectives.

SPB-24.1	I	Electronic Publications 15 & 16

Source:

Board of Directors

Purpose:

Get membership feedback on eliminating printed copies of Publications 15 & 16.

Item under Consideration:

#### NCWM offers Publications 15 and 16, the Interim and Annual Meetings agendas, in two formats.  They are available as downloads from the NCWM website and provided as printed books at the meetings.  NCWM is considering limiting these publications to electronic format.

Previous Action:

New in 2024

Original Justification:

Society has become less dependent on paper by recognizing the advantages of electronic files.   They provide easy word searches and links from a table of contents to a specific item in the file.  By eliminating printed books, NCWM would provide a positive environmental impact while realizing cost savings from printing and shipping hundreds of large books twice yearly.

Recognizing the need for electronic devices, NCWM would include access to power supplies throughout the meeting rooms.

There were no comments.

Item Development:

2025 NCWM Interim Meeting: Staff has reduced the number of books published based on the demand of previous meetings. NCWM will continue assessing the demand while the board encourages attendees to move toward viewing on their electronic devices.

SPB-25.1	I	Gender-Neutral Bylaws

Source:

Women in Weights and Measures Subcommittee

Purpose:

Update the NCWM bylaws to include gender-neutral language.

Item under Consideration:

Amend the NCWM Bylaws as follows:

The following is an example of the changes proposed throughout the bylaws.

## Section 4 - Presiding Officers

The four Corporation Presiding Officers preside over sessions of the meetings of the Corporation as assigned by the Corporation Chairman Chair and assist the Chairman Chair in the discharge of his or her their duties.

Previous Status:

2024: New Proposal

Original Justification:

Making gender-neutral language a common practice is a significant way to show a commitment to inclusivity.

Comments in Favor:

Regulatory:

- Matthew Douglass supports the change in bylaws and mentioned that many other organizations have made similar changes.

Item Development:

2025 NCWM Interim Meeting: The board supports the proposal and approved the amendments to the bylaws as editorial changes.

Additional letters, presentation and data may have been submitted for consideration with this item.  Please refer to https://www.ncwm.com/publication-15 to review these documents.

# FIN – Financial

FIN-1	I	Treasurer's Report

Overall, NCWM’s financial health is strong and there are no concerns. NCWM has self-funded the startup of its NTEP laboratory without incurring any additional debt. All financial transactions and balances have been properly recorded and reported, and our internal controls, including the annual audit by Dana F. Cole & Company completed in December 2024, are effective in ensuring the accuracy and reliability of the financial information. Our financial statements accurately reflect NCWM’s financial position and performance. We have sufficient liquidity to meet our current and future obligations, and financial performance is in line with expectations based on the current market. There are no immediate risks or areas of concern that require attention. I recommend continuing to monitor NCWM’s financial performance and taking proactive measures to ensure its long-term financial stability.

Respectfully submitted by Mahesh Albuquerque, Treasurer.

| ASSETS | March 31, 2024 |  | March 31, 2025 |
| --- | --- | --- | --- |
| Current Assets | $ |  | $ |
| Checking/Savings |  |  |  |
| Associate Member Fund | 58,613.94 |  | 32,908.80 |
| Certificates of Deposit | 413,811.45 |  | 266,690.70 |
| Equities | 846,606.28 |  | 961,424.55 |
| Money Market Fund | 490,726.45 |  | 131,120.81 |
| Checking | 17,974.56 |  | 27,767.05 |
| Savings | 60,014.66 |  | 17.46 |
| Total Checking/Savings | 1,887,747.34 |  | 1,419,929.37 |
| Accounts Receivable | 26,954.86 |  | 38,511.74 |
| Other Current Assets | 150,061.29 |  | 565,234.71 |
| Fixed Assets | 0.00 |  | 12,190.32 |
| Other Assets | 42,916.61 |  | 456,936.08 |
| TOTAL ASSETS | 2,107,680.10 |  | 2,492,802.22 |
| LIABILITIES & EQUITY |  |  |  |
| Liabilities |  |  |  |
| Current Liabilities | 66,262.51 |  | 446,966.08 |
| Total Liabilities | 66,262.51 |  | 446,966.08 |
| Equity |  |  |  |
| Designated - Associate Membership | 58,613.94 |  | 55,203.91 |
| Unrestricted Net Assets | 1,570,854.91 |  | 1,792,088.60 |
| Net Income | 411,948.74 |  | 198,543.63 |
| Total Equity | 2,041,417.59 |  | 2,045,836.14 |
| TOTAL LIABILITIES & EQUITY | 2,107,680.10 |  | 2,492,802.22 |

Mr. Marc Paquette, Vermont | NCWM Chairman

Mr. Kevin Schnepp, California | NCWM Chairman-Elect

Mr. Gene Robertson, Mississippi | NTEP Committee Chair

Mr. Mahesh Albuquerque, Colorado | Treasurer

Mr. Daniel Walker, Ohio | Active Membership - Central

Mr. Jason Flint, New Jersey | Active Membership – Northeastern

Mr. Paul Floyd, Louisiana | Active Membership - Southern

Mr. Bill Striejewske, Nevada | Active Membership - Western

Dr. Matt Curran, Florida | At-Large

Ms. Ray Johnson, Fairbanks Scales | At-Large

Mr. Chris Guay, CGGT | AMC Representative

Mr. Don Onwiler, NCWM | Executive Director

Dr. Katrice Lippa, NIST, OWM | Executive Secretary

Ms. Erica Garnier, Measurement Canada | Advisor

Mr. Jeff Gibson, NCWM | NTEP Administrator

Board of Directors

Appendix A

Report of the Activities of the International Organization of Legal Metrology (OIML) and Regional Legal Metrology Organizations

National Institute of Standards and Technology (NIST), Office of Weights and Measures (OWM)

INTRODUCTION

The OWM at NIST is responsible for coordinating United States participation in OIML and other international legal metrology organizations. Learn more about OIML at www.oiml.org and about NIST, OWM at www.nist.gov/owm. Dr. Charles Ehrlich, Program Leader of the International Legal Metrology Program, can be contacted at (301) 975-4834 or charles.ehrlich@nist.gov.

Note:  OIML publications are available electronically without cost at www.oiml.org.

Table A Table of Contents

INTRODUCTION

I. Report on the Activities of the OIML Technical Committees	19

TC 5/SC 1 Environmental Conditions (Canada)	3

TC 5/SC 2 Software  (Germany and BIML)	19

TC 6 Prepackaged Products (South Africa)	19

TC 8/SC 1 Static Volume and Mass Measurement (United States)	19

TC 8/SC 5 Water Meters (United Kingdom) …………………………………………………………………………..4

TC 8/SC 6 Measurement of Cryogenic Liquids (United States)	20

TC 8/SC 7 Gas Metering (Netherlands)	20

TC 9/SC 1 Non-Automatic Weighing Instruments (Germany and France)	5

TC 9/SC 2 Automatic Weighing Instruments (United Kingdom)	5

TC 12: Instruments for measuring electrical quantities (Australia) ………………………………………	5

OIML Certificate System (OIML-CS) ………………………………………………………………………	 6

II.  Report on the 59th CIML Meeting (October 2024) ..……...……………………………………………...…....22

IV.  Future OIML Meetings	23

V.   Regional Legal Metrology Organizations	8

Table B Glossary of Acronyms and Terms

| Acronym | Term | Acronym | Term |
| --- | --- | --- | --- |
| ANSI | American National Standards Institute | ISO | International Standardization Organization |
| APEC | Asia-Pacific Economic Cooperation | IWG | International Work Group |
| APLMF | Asia-Pacific Legal Metrology Forum | LMWG | Legal Metrology Work Group |
| APMP | Asia-Pacific Metrology Program | MAA | Mutual Acceptance Agreement |
| B | Basic Publication | MTL | Manufacturers’ Testing Laboratory |
| BIML | International Bureau of Legal Metrology | NIST | National Institute of Standards and Technology |
| BIPM | International Bureau of Weights and Measures | NTEP | National Type Evaluation Program |
| CD | Committee Draft1 | OIML | International Organization of Legal Metrology |
| CIML | International Committee of Legal Metrology | OWM | Office of Weights and Measures |
| CTT | Conformity to Type | PG | Project Group |
| D | Document | R | Recommendation |
| DD | Draft Document2 | SC | Technical Subcommittee |
| DoMC | Declaration of Mutual Confidence | SIM | Inter-American Metrology System |
| DR | Draft Recommendation2 | TC | Technical Committee |
| DV | Draft Vocabulary2 | USNWG | U.S. National Work Group |
| GA | General Assembly | VIM | International Vocabulary of Metrology |
| IEC | International Electrotechnical Commission | VIML | International Vocabulary of Legal Metrology |
| IQ Mark | International Quantity Mark | WD | Working Draft3 |
| 1CD: a committee draft at the stage of development within a technical committee, subcommittee, or project group; in this document, successive drafts are numbered 1 CD, 2 CD, etc. 2DD, DR, and DV: a draft document approved at the level of the technical committee, subcommittee or project group concerned and sent to BIML for approval by CIML. 3WD: working draft that precedes the development of a CD; in this document, successive drafts are number 1 WD, 2 WD, etc. |  |  |  |

Details of All Items (In order by Reference Key)

I.	Report on the Activities of the OIML Technical Committees

This section reports on recent activities and the status of work in the OIML Technical Committees (TCs), Technical Subcommittees (SCs), and Project Groups (PGs) of specific interest to members of the National Council on Weights and Measures (NCWM).  Schedules of future activities of the TC/SC Secretariats, PG Conveners, the U.S. National Work Groups (USNWGs), and the International Work Groups (IWGs) and Project Groups of the TCs and SCs are also included.

TC 5/SC 1 Environmental Conditions (Canada)

OIML D 11 General requirements for measuring instruments - Environmental conditions is a very important document in the OIML system and is used by all of the OIML TCs/SCs as a general reference for technical and testing requirements on all measuring instruments.  Highlights of the previous revision cycle included: expanding the terminology section, updating several testing sections to reflect the latest International Electrotechnical Commission (IEC) reference standards, and including a new environmental class (“E3”) for a non-mains local source of electrical power supply.  This current project to revise D 11 has been approved by the CIML, with Canada now serving as the Secretariat.  Several multi-day virtual meetings for the international project group were held in 2023 and 2024.  International comments have been received on the 1CD, and the first in-person meeting of this Project Group is scheduled to be held in February 2025 in Brazil.  Please contact Mr. Ralph Richter at (301) 975-3997 or ralph.richter@nist.gov, if you would like additional information on TC5/SC1 or OIML D 11.

TC 5/SC 2 Software (Germany and BIML)

OIML D 31 General Requirements for Software-controlled Measuring Instruments serves as guidance for the software requirements in all of the OIML International Recommendations.  The current version of D 31 received final CIML approval in Oct 2023.   The CIML subsequently approved another revision cycle for D 31 at the same CIML Meeting in Thailand in Oct 2023.  This current revision is addressing the organization of the document, with the intention of making it more usable for testing authorities.  Parties interested in these OIML software efforts should contact Dr. Katya Delak at (301) 975-2520 or katya.delak@nist.gov if they have questions or would like to participate.

TC 6 Prepackaged Products (South Africa)

OIML Guide G 21, entitled “Guidance for Defining the Requirements for a Certification System for Prepackages” has been published.  This guideline was developed to assist countries in establishing reciprocal agreements to accept the test results on prepackaged goods.  The current publication of OIML Recommendation R 87 “Quantity of Product in Prepackages” (equivalent to NIST Handbook 133 “Checking the Net Contents of Packaged Goods”) includes a comprehensive overhaul of the statistical requirements and sampling plans.  This Subcommittee is continuing its work on a project entitled “R87 Prepackage Template”.  TC 6 is also responsible for OIML R 79 Labeling Requirements for Prepackaged Products.  The TC 6 Technical Committee has held a virtual meeting to discuss many of its efforts.  For more information or to participate in the activities of this committee, please contact Dr. Charles Ehrlich (301) 975-4834 or charles.ehrlich@nist.gov.

TC 8/SC 1 Static Volume and Mass Measurement (United States)

The United States chairs the Project Groups that are revising OIML R 71 Fixed Storage Tanks and R 85 Automatic Level Gages for Measuring the Level of Liquid in Fixed Storage Tanks to add specific requirements for specialized tanks.  The 2CDs of R 71 and R 85 are planned to be distributed soon.  The Subcommittee has discussed the importance of revising OIML R 125 Measuring Systems for the Mass of Liquids in Tanks, and a project to revise R 125 has been approved by the CIML.  Please contact Mr. Ralph Richter at (301) 975- 3997 or ralph.richter@nist.gov, if you would like copies of the documents or to participate in any of these projects.

TC 8/SC 5 Water Meters (United Kingdom)

A significant multi-year revision effort led to the 2013 version of OIML R 49 Water meters intended for the metering of cold potable water and hot water.  A key component of that revision effort was to bring the water meter standards from the International Organization for Standardization (ISO) and the European Committee for Standardization (CEN) into full harmonization with OIML R 49.  A new revision effort on R 49 was begun in 2022 with the water meter committees/experts from all three standards organizations participating.  In addition to updating and improving the standards, a key goal of the effort is to ensure the three standards remain fully harmonized with each other.  Several virtual meetings were held to support the rapid completion of this project.  OIML R 49 passed its final CIML approval in Oct 2024, and was published in Dec 2024, in parallel with the harmonized of ISO 4064 water meter standard.   To obtain more information on international water meter standards, please contact Mr. Ralph Richter at (301) 975-3997 or ralph.richter@nist.gov.

TC 8/SC 6 Measurement of Cryogenic Liquids (United States)

The Secretariat for OIML R 81, Dynamic Measuring Devices and Systems for Cryogenic Liquids has resolved the comments received on the first committee draft (1CD) of R 81, and a 2CD is anticipated to be distributed soon.  To obtain more information or to participate in this project, please contact Mr. Ralph Richter at (301) 975-3997 or ralph.richter@nist.gov.

TC 8/SC 7 Gas Metering (Netherlands)

The OIML R 137 document is especially important to the U. S. interests because the American National Standards Institute (ANSI) B 109 committee on gas measurement is using the published version of R 137 to create a new performance-based standard for gas meters in the United States.  A new project to revise R 137 has been approved by the CIML, but work on the R 137 revision has not yet begun.

Starting in 2022, The Netherlands re-started its work on a project to revise OIML R 140, Measuring systems for gaseous fuels.  When created, this Recommendation was mostly written to cover pipeline systems for natural gas.  In addition to general improvements and a significant update for the Recommendation, a focus of the revision project will be to ensure the document fully covers measuring systems for several other gaseous fuels, including hydrogen.  A 1WD of R 140 (Part 1) was distributed to the in 2023, and a virtual meeting of the project group has been held. Please contact Mr. Ralph Richter at (301) 975-3997 or ralph.richter@nist.gov, if you would like to participate in any of these TC 8/SC7 efforts or if you would like to obtain a copy of any of these gas measurement documents.

TC 9/SC 1 Non-Automatic Weighing Instruments (Germany and France)

The project to revise OIML R 76:2006 Non-automatic weighing instruments continues to evolve with several recent developments.  In addition to revising the R 76 Recommendation, the project group has been requested to provide guidance on how to best approach the verification and inspection of measuring instruments in this category.  Several Project Sub-Groups have been tasked with reformatting/updating/improving the Recommendation and with developing field verification and inspection procedures for these measuring instruments.  Other Sub-Groups are developing proposals for adding up-to-date software requirements and for considering the inclusion of new test procedures for modules.  A first Committee Draft (1CD) of the R 76 revision was developed by staff at the BIML without assistance from the project group.  Based on international comments received on the 1CD, and decisions made during a virtual meeting of the R 76 project group in March 2024, the BIML has distributed a “modified” and improved 1.1CD to the project group.  Please contact Mr. Ralph Richter at (301) 975-3997 or ralph.richter@nist.gov if you are interested in the effort to revise this document.

TC 9/SC 2 Automatic Weighing Instruments (United Kingdom)

Projects are continuing to revise both OIML R 51 Automatic catch-weighing instruments and R134 Automatic instruments for weighing road vehicles in motion and measuring axle loads.  Both of these Recommendations were last approved/published in 2006, and both of the revision projects are currently in the Working Draft stage.  Subcommittee meetings to discuss both of these projects were held (virtually) in both 2022 and 2023.  A 4-day virtual meeting of the R 51 project group was held 03-06 June 2024 to discuss international comments received on the 5WD of R 51.  Please contact Mr. Ralph Richter at (301) 975-3997 or ralph.richter@nist.gov if you are interested in the projects to revise either R51 or R134.

TC 12 Instruments for measuring electrical quantities (Australia)

OIML R 46 Active Electrical Energy Meters is undergoing a significant revision. Following the review of the 1CD package, the comment period of which closed in 2023, a 2CD was released in November 2024.  The Project Group is using several subgroups to work on specific issues related to the revision and the continuing development of R46, including:  Quantities and Harmonics (looking at Reactive Energy and the issue of Fundamental vs. Harmonic Power); Smart Street Lighting; and Remote Displays; and Meters with Modular Components.

Additionally, the revision of the OIML Guide G 22 Electric Vehicle Supply Equipment (EVSE), published in 2022, is currently underway, with the intention of expanding the document to a full Recommendation, to include type evaluation reports and test report formats.   This project group (led by the Netherlands) has held several virtual meetings in 2022-2024, largely addressing the revision of the software aspects of the document.

Work is underway also to develop a New Recommendation: “DC electricity metering” under TC12.  This project was approved by the CIML in Thailand in October 2023,  The United States serves as the Convener for this new project, and a 1WD was distributed to the project group in April 2024.  International comments on the 1WD have been received and are being collated in preparation for the PG meeting.

All TC12 PGs are scheduled to meet in Prague, 10-14 March 2025.  These meetings will see the discussion of the relevant TC 12 drafts that are under consideration. Please contact Dr. Katya Delak at (301) 975-2520 or katya.delak@nist.gov if you have questions about any of these TC 12 projects or would like to participate.

OIML Certification System (OIML-CS)

OIML has operated a Certificate System for OIML Type Evaluation of Measuring Instruments since 1991. Because of difficulties encountered by the International Bureau of Legal Metrology (BIML) in adequately obtaining and summarizing peer review and/or accreditation data from test laboratories, and also to promote better awareness of the certificate system, an effort to develop a significantly improved and more robust OIML Certification System (OIML-CS) was started in 2015.  After three years of development, implementation of the new OIML-CS began in January 2018.  Thirty-seven (37) instrument categories are covered under the OIML-CS; see the OIML website www.oiml.org/en/oiml-cs/categories for the complete list.

OIML held its ninth annual OML-CS Management Committee meeting in March 2024 in New Delhi, India.  The meeting was run by the Acting Management Committee Chairperson, Mr. Marc Schmidt (of the Netherlands) and Mr. Paul Dixon, the MC Executive Secretary (from the BIML).  The meeting featured excellent international participation, with 22 of the 24 committee members either present or represented through a proxy, and several pressing issues for the Certification System were resolved across a wide range of technical areas.

Dr. Charles Ehrlich (NIST and the U.S. CIML Member) serves on the Management Committee of the OIML-CS.  Mr. Darrell Flocken (NCM/NTEP) serves on the Review Committee, which is now part of the Management Committee.

Details and specifics about the OIML Certificate System are available on the OIML website.  If there are any questions about the OIML-CS, or for more information, please contact Dr. Ehrlich at (301) 975-4834 or charles.ehrlich@nist.gov.

II.	REPORT ON THE 59th CIML MEETING, held online in OCTOBER 2024

The 59th CIML Meeting Resolutions, documents, and presentations are available on the OIML website at https://www.oiml.org/en/structure/ciml/sites.

The Fifty-ninth meeting of the Comité International de Métrologie Légale (CIML) was held online from 22 to 24 October 2024.  The meeting quorum was achieved, and there were many representatives from OIML Corresponding Members and Organizations in Liaison.

The CIML President, Dr Bobjoseph Mathew (of Switzerland), reported on the key activities, membership changes, and strategic events that had taken place during the year.  Following a secret ballot, Mrs Renée Hansson (CIML Member for Sweden) was elected as CIML First Vice-President for a six-year term starting with immediate effect. This is a historic election as she is the first female CIML Vice-President.

The BIML Director, Mr Anthony Donnellan, reported on the activities and achievements of the BIML and its staff. For the 59th CIML Meeting, Mr Donnellan’s report focused on the extensive and critical role that the Bureau International de Métrologie Légale (BIML) performs to raise awareness of, and to promote, international legal metrology.  Mr Donnellan emphasized that the future direction of the Organization would be very much oriented towards digitalization.

Concerning Membership of the Organization, one new Corresponding Member (Djibouti) and two returning Members (Burkina Faso and Zimbabwe) had joined the OIML over the past year.

The 2023 financial accounts were presented and were approved by the CIML.  Mr Donnellan reported that the Organization continues to be in a good financial position, although late payments still present an underlying risk to the OIML.  He stated that expenses remain generally within expectations, and the OIML Operating Reserve was not needed to be accessed during this period.  The CIML thanked Mrs Renée Hansson and Dr Charles Ehrlich for conducting the 2024 internal financial audit.

The following publications were approved by the Committee:

- Revision of OIML R 49:2013 Water meters for cold potable water and hot water;  the CIML also welcomed the close cooperation with the International Organization for Standardization (ISO) to ensure full harmonization between OIML R 49 and the corresponding ISO 4064 standard;

- Reconfirmation of OIML R 50:2014 Continuous totalizing automatic weighing instruments (belt weighers);

- Reconfirmation of OIML R 99:2008 Instruments for measuring vehicle exhaust emissions;

- Reconfirmation of OIML R 106:2011 Automatic rail-weighbridges; and

- Reconfirmation of OIML R 107:2007 Discontinuous totalizing automatic weighing instruments (totalizing hopper weighers).

The BIML gave a report on the progress of the technical work of the Organization, and lists of high- priority projects and publications were approved by the Committee.

Mr Chris Pulham, BIML Editor/Webmaster, summarized the themes of recent and future OIML Bulletins, and invited Members to continue to submit topics and articles for future editions.  He highlighted the success of the “Mentor” concept and thanked the Mentors of recent editions for their work, expressing the hope that the mentorship concept would continue long into the future.  Lastly, he commented that the Oct 2024 edition would be his last, as he was retiring in Dec 2024 after over 28 years at the BIML.

The OIML Certification System (OIML-CS) Management Committee (MC) Acting Chairperson, Mr Marc Schmidt (of the Netherlands), reported on the activities of the OIML-CS, including the Ninth MC meeting that was held in New Delhi, India in March 2024.  He welcomed the newest OIML Issuing Authority to join the OIML-CS, LNE-GMED UK Limited.  Mr Schmidt also spoke about the desire for increased participation in the activities of the MC, exploring the possibilities of including Conformity-to-Type in the OIML-CS, and IAF ‘endorsement’ of the OIML-CS for the purposes of accreditation of OIML Issuing Authorities.  The CIML appointed Mr Schmidt as the MC Chairperson, and Ms Katharina Gierschke (Germany) was appointed as the MC Deputy Chairperson.  Both of these appointments are effective from 01 January 2025 for a period of three years.

Mr Jaco Marneweck, Chairperson of the Advisory Group on matters of Countries and Economies with Emerging Metrology Systems (CEEMS AG), gave an update on the activities of the CEEMS AG.  The CIML appointed Mr Ashutosh Agarwal (CIML Member for India) as CEEMS AG Vice-Chairperson for a three- year term with immediate effect.

The Chairperson of the OIML Digitalization Task Group (DTG), Dr Sascha Eichstädt (of Germany), reported on the activities of the DTG over the past year and the CIML approved the DTG Roadmap.  The DTG Chairperson also reported on the work of the DTG Subcommittees “Smart OIML Documents” and “e-Learning”, and the CIML approved the general concept for an initial course on fundamental principles of digitalization.

A summary of the detailed discussions held during the Regional Legal Metrology Organisations Round Table (RLMO RT) Annual Meeting held on 30 Sep 2024 was presented by the RLMO RT Chairperson, Dr Charles Ehrlich.  Seven Organisations in Liaison submitted written reports on their activities, and two (CECIP and ILAC) gave oral presentations during the meeting.  The BIML also gave a report on its numerous interactions with and participation in the activities of the organisations in liaison.

OIML medals were awarded to Dr Charles Ehrlich and Mr Chris Pulham for their contributions to the work of the OIML; both Dr Ehrlich and Mr Pulham will be retiring in the coming months. Letters of Appreciation were presented to Mrs Helga Grohne; the Government of Kazakhstan; Ms Shirin Mammadova; Dr Toshiyuki Takatsuji; and Mr Ian Dunmill for their contributions to the work of the OIML.

III.	Future OIML Meetings

The 17th International Conference and 60th CIML Meeting are currently scheduled to be held in Saudi Arabia in October 2025.

IV.	Regional Legal Metrology Organizations

A meeting of the Inter-American Metrology System (SIM) General Assembly is organized annually and is the event where delegates from National Metrology Institutes of the Americas meet to discuss important issues.

The SIM Legal Metrology Working Group (LMWG) held its most recent in-person meeting in Cartagena, Columbia.  Several issues of importance to the SIM countries were discussed, including:  recent weights and measures training that participants felt had been successful, how the new OIML-CS certification system would affect the weights and measures programs in each country, and the problems that many programs faced concerning adequate and stable access to resources.  The meeting closed with a discussion on the future needs and expectations of each of their countries.  Possible next steps and planning for future training and future LMWG communication and meetings were considered.  Please contact Mr. Ralph Richter at (301) 975-3997 or ralph.richter@nist.gov for more information on SIM and the activities of the SIM LMWG.

A meeting of the Asia-Pacific Legal Metrology Forum (APLMF) was held in Taipei City, Taiwan in Nov 2024.  The US was represented in the meeting by Mr. Ralph Richter (NIST OWM).  The APLMF Secretariat has been held by Malaysia since 2020.

The main objectives of APLMF are to coordinate regional training courses in legal metrology and to provide a forum for exchange of information among legal metrology authorities.  APLMF activities continue to be facilitated through its working groups.  The most active WG has been the Working Group on Training Coordination.  Because of the importance of the training mission to APLMF, this WG has now become a permanent part of the APLMF Secretariat (instead of a separate WG).  The results of a recent APLMF survey clearly indicated that the more than 20 courses conducted by APLMF in the last 10 years were highly valued by the member economies, promoted harmonization in the Asia-Pacific region, and frequently led to revised/improved legislation and regulations in the member economies.  Two new APLMF working groups have recently been formed: “WG on Measurement of Fuels” and “WG on Medical Measurements.”

A significant joint project entitled “Metrology Enabling Developing Economies in Asia” (MEDEA) has been conducted over the past ten years by APLMF, the Asia Pacific Metrology Programme (APMP) and the Physikalisch-Technische Bundesanstalt (PTB).  This project has been managed by PTB and is primarily funded by Germany.  The project aims to foster and further develop the capabilities of the APLMF and the Asia-Pacific Metrology Program (APMP) to support developing economies in the Asia-Pacific region, to promote metrology systems within developing economies, and to strengthen the metrology systems/infrastructure within developing economies.

There are five APLMF training courses that have been held in 2024:

- APLMF/MEDEA Online training course on pre-packaged goods;

- APLMF/MEDEA Training course on EVSE;

- APLMF/MEDEA Training course on rice moisture measurement;

- OIML/APLMF/MEDEA Seminar on the OIML Certification System; and

- OIML/APLMF/MEDEA Seminar on OIML D 1 “National Metrology Systems.”

The next meeting of APLMF is being planned to be held as an in-person meeting in November 2025 in Indonesia.  Please contact Mr. Ralph Richter at (301) 975-3997 or ralph.richter@nist.gov for more information on APLMF.

National Council on Weights & Measures

Associate Membership Committee Meeting Notes

2025 Interim Meeting

Tuesday, January 14, 2025

Charleston, SC

# Meeting call to order 7:33 am

  - Handouts available for meeting

# Review and approval of minutes from the interim meeting in July

- Minutes were unanimously approved

# Review of amc financial statement from treasurer

# Amc has a balance of $9345 after dispersing ~37k in amc funds to help train approximately 430 people. There was a brief discussion about what the amc funds were intended to pay for during the training such as food and/or drink.

- Board of Directors Update

  - New office up and running

  - Darryl Flocken is retiring, transitioning responsibilities

  - Evaluation of cost increases – dues will be increased for 2025-2026 fiscal year

  - NCWM is taking over publishing handbooks and will be transitioning away from hardcopy distributions

  - Pub 15 / Pub 16 – we will also be transitioning away from hardcopy to electronic distribution

  - Chris Guay is retiring and will be stepping down from the BOD

- Mahesh gave update for upcoming EVSE conf trade show: expressed thanks for AMC members serving on EVSE committee, EVSE tech conf page is on the NCWM website, ask for help to get the word out, EVSE small trade show in late summer or fall,  3 day conf and hoping for 50 attendees with option to take the certification exam upon completion, targeting inspectors and RSAs, also want to attract decision makers.

- L&R Update - Brent Price: Three areas with considerable comments in the open hearings were for wrapped packaging of hay and forage products, the proposed new uniform shipping law, and wording changes for moisture allowance and gray area.

- PDC Update – Nothing to Update

- Old Business -Review the past 6 months’ approvals for AMC Funds

  - Colorado Small Scale Application

  - New York W&M Association annual Training Application

  - Wisconsin Small Scale Application

  - Indianna W&M Mid-Map Training

  - CT Lab Mentoring initiative

- New Business

  - Elections or changes in AMC officers is typically done at annual mtg, Bill happy to stay in place as chair, Bill to update website for current slate and will check the bylaws.  The Nominating Committee makes the decision, but AMC can provide suggestions to them for the AMC member on the Board, we will need to replace Chris Guay. Time expired.

- Meeting Adjourn